## Slide 1
CCTV Design and Delivery Plan
Professional concept-to-handover framework | Project, site, and dates: TBD

## Slide 2
Design Basis and Delivery Objectives
Define CCTV coverage, recording, network, and operational requirements
Coordinate camera locations with site conditions and stakeholder needs
Provide a controlled workflow from design through handover
Confirm all quantities, performance criteria, and approvals as TBD
CCTV Design and Delivery Plan
2/13

## Slide 3
CCTV System Architecture
01
Cameras and field devices
02
PoE access switching
03
Core network and VLAN
04
VMS recording platform
05
Operator clients and monitoring
CCTV Design and Delivery Plan
3/13

## Slide 4
Camera Schedule | Sample Design Register (1/2)
ID | Location / Coverage | Camera Type | Connectivity | Status
C-001 | Main entrance | TBD | PoE | TBD
C-002 | Reception area | TBD | PoE | TBD
C-003 | Loading bay | TBD | PoE | TBD
C-004 | Car park entrance | TBD | PoE | TBD
C-005 | Car park perimeter | TBD | PoE | TBD
C-006 | Goods receiving area | TBD | PoE | TBD
CCTV Design and Delivery Plan
4/13

## Slide 5
Camera Schedule | Sample Design Register (2/2)
ID | Location / Coverage | Camera Type | Connectivity | Status
C-007 | Service yard | TBD | PoE | TBD
C-008 | Plant room access | TBD | PoE | TBD
C-009 | Corridor junction | TBD | PoE | TBD
C-010 | Emergency exit | TBD | PoE | TBD
C-011 | Boundary line | TBD | PoE | TBD
C-012 | Critical internal area | TBD | PoE | TBD
CCTV Design and Delivery Plan
5/13

## Slide 6
Network and PoE Requirements
Confirm camera count, cable routes, and switch locations
Reserve VLAN and addressing scheme for CCTV devices
Size PoE budget for camera loads and future capacity
Validate uplink bandwidth and resilience requirements
Confirm recording bandwidth and retention requirement: TBD
Define network security, firewall, and remote-access controls
Provide UPS and power provisions where required: TBD
Document port maps, labels, and patching requirements
CCTV Design and Delivery Plan
6/13

## Slide 7
Commissioning Checks (1/2)
Check | Acceptance Focus | Status
1. Camera view | Coverage, focus, image quality, and privacy zones | TBD
2. Camera identification | Device naming, location labels, and asset records | TBD
3. Network connectivity | Reachability, addressing, VLAN, and link stability | TBD
4. PoE operation | Power delivery, restart behavior, and switch allocation | TBD
5. Recording | Recording operation, timestamps, and storage status | TBD
6. Playback and export | Search, playback, export, and media verification | TBD
CCTV Design and Delivery Plan
7/13

## Slide 8
Commissioning Checks (2/2)
Check | Acceptance Focus | Status
7. User access | Roles, permissions, authentication, and audit trail | TBD
8. Alerts and monitoring | Health alerts, event handling, and notification paths | TBD
CCTV Design and Delivery Plan
8/13

## Slide 9
Delivery Risks and Mitigations (1/2)
Risk | Mitigation | Status
Incomplete coverage requirements | Review coverage objectives and approve camera schedule | TBD
Restricted cable routes | Survey routes, coordinate containment, and record constraints | TBD
Insufficient PoE capacity | Complete load calculation and reserve switch capacity | TBD
Network performance limits | Validate bandwidth, VLANs, uplinks, and QoS needs | TBD
Privacy or compliance concerns | Agree masking, access controls, retention, and signage | TBD
CCTV Design and Delivery Plan
9/13

## Slide 10
Delivery Risks and Mitigations (2/2)
Risk | Mitigation | Status
Delayed stakeholder approvals | Track design decisions, owners, and due dates | TBD
CCTV Design and Delivery Plan
10/13

## Slide 11
Implementation Workflow
01
Confirm requirements and design assumptions
02
Develop coordinated drawings and equipment schedule
03
Review design and obtain stakeholder approval
04
Install, configure, and label system components
05
Commission, resolve defects, and obtain acceptance
CCTV Design and Delivery Plan
11/13

## Slide 12
Handover Actions
Provide as-built drawings and final camera schedule
Submit configuration, addressing, and port documentation
Deliver operating instructions and maintenance information
Record outstanding items with owners and target dates
Demonstrate live view, playback, export, and user workflows
Provide training attendance and user guidance records
Transfer approved credentials through a secure process
Obtain formal acceptance status: TBD
CCTV Design and Delivery Plan
12/13

## Slide 13
Next Steps and Decision Register
Progress to detailed design after requirements and site information are confirmed